Promieniowanie synchrotronowe w SOLARIS

Trzeba zacząć od tego czym mogole jest synchrotron, czyli pokazania jak promieniowanie ładunku krążącego po okręgu wygląda wg. tego ładunku i obserwatora z zewnątrz. Widziałem to np. w książce Elektrodynamika Klasyczna  autorstwa Ingardena i Jamiołkowskiego, str 239, ale wydaje mi się też że powinno być w Jacksonie.

Następnie trzeba powiedzieć o dwóch możliwościach otrzymywania promieniowania, obecnych w Solarisie: magnesie zakrzywiającym i ondulatorze.

W  Solarisie zainstalowane są unikalne szwedzkie magnesy odchylające, ale to temat sam w sobie (chyba, ze osoba, która bierze temat tylko tym chce się zajac)

Jeśli nie, to proszę przedstawic wszystkie linie tak, żeby wszyscy wiedzieli jakie eksperymenty wkrótce będzie można wykonywać w Solarisie.

Są to:

1.Linia PEEM/XAS

## X-ray Photoemission Electron Microscopy (XPEEM) (skopiowane z http://www.lth.se/start/research/synchrotron-radiation-sources/x-ray-photoemission-electron-microscopy-xpeem)

X-ray photoemission electron microscopy is based on the same phenomenon as XPS: the photoelectric effect. Instead of obtaining spectra as in XPS, XPEEM can be used to obtain images containing chemical information with a lateral resolution in the range of tens of nm.

To create XPEEM images an area of the sample is illuminated by photons, which then create the photoelectrons as described previously. These photoelectrons can then be refocused into a real space image by the use of an aperture and a series of electron lenses. By using electron optics like electrostatic electron mirrors, chromatic and spherical aberrations can be corrected and improve the resolution towards the theoretical resolution limit in the low nm range.

The contrast in the XPEEM image is mainly due to the chemical content, meaning that areas of a particularly selected binding energy appear bright in the resulting image. Additionally to the chemical contrast, differences in the work function and the surface topography may affect the contrast.

| XPEEM image showing areas of high Fe content as bright spots. | MEM image showing the topography of the sample. |
| --- | --- |

(cytat z pozycji [6]) By taking advantage of the tuneable helicity (circular right, left and linear) of incoming light, the method has routinely been used for imaging magnetic domains in thin films and nanostructures. In this case, high intensity secondary electrons are used, and magnetic contrast is usually obtained using X-ray magnetic circular and linear dichroism effects (XMCD) for ferro- and antiferromagnets, respectively.

Linia UARPES

Linia XMCD

Jesli wszystkie 3 linie, to zbyt duzo dla jednej osoby, to prosze o wspomnienie o 3, ale omowienie (kwintesencja) dwóch.

Literatura

1.Solaris storage ring lattice optimisation with strong Insertion devices

2.Ultimate upgrade for us synchrotron_nature 2013.pdf

3.Using multi-bend achromats in synchrotron radiation Sources

4.Brightness and coherence of synchrotron radiation  and FELs_2013.pdf

5.Fourth  generation light  sources 1998

6. M. Slęzak, Prospects of X-ray photoemission electron, X Ray Spectroscopy 2015,